## Report
Host
Host Name | user
Time | Wed Jun 24 09:59:49 AM CST 2026
System | Intel Corporation AvenueCity, ....................
Baseboard | Intel Corporation AvenueCity, 0.02
Chassis | Intel Corporation Rack Mount Chassis, ............
BIOS
Vendor | Intel Corporation
Version | BHSDCRB1.IPC.3545.P40.2603102207
Release Date | 03/10/2026
Operating System
OS | Ubuntu 24.04.3 LTS
Kernel | 6.8.0-124-generic
Boot Parameters | BOOT_IMAGE=/vmlinuz-6.8.0-124-generic root=/dev/mapper/ubuntu--vg-ubuntu--lv ro
Microcode | 0x11000110
Software Version
GCC
GLIBC | ldd (Ubuntu GLIBC 2.39-0ubuntu8.7) 2.39
Binutils
Python
Python3 | Python 3.12.3
Java
OpenSSL | OpenSSL 3.0.13 30 Jan 2024 (Library: OpenSSL 3.0.13 30 Jan 2024)
CPU
CPU Model | Intel(R) Xeon? 6992E+C
Architecture | x86_64
Microarchitecture | CWF
Family | 6
Model | 221
Stepping | 1
Base Frequency | 2.5GHz
Maximum Frequency | 3.2GHz
All-core Maximum Frequency | 2.9GHz
CPUs | 288
On-line CPU List | 0-287
Hyperthreading | N/A
Cores per Socket | 288
Sockets | 1
NUMA Nodes | 3
NUMA CPU List | 0-95 :: 96-191 :: 192-287
L1d Cache | 32K
L1i Cache | 64K
L2 Cache | 4M
L3 Cache (instance/total) | 576M/576M
L3 per Core | 2M
Memory Channels | 12
Intel Turbo Boost | Enabled
Virtualization | VT-x
PPINs | 57424d4ded34e641
Prefetcher
| Prefetcher | Description | MSR | Bit | Status
| L2 HW | L2 Hardware (MLC Streamer) fetches additional lines of code or data into the L2 cache. | 0x01A4 | 0 | Enabled
| L2 Adj | L2 Adjacent Cache Line (MLC Spatial) fetches the cache line that comprises a cache line pair. | 0x01A4 | 1 | Enabled
| DCU HW | DCU Hardware (DCU Streamer) fetches the next cache line into the L1 cache. | 0x01A4 | 2 | Disabled
| DCU IP | DCU Instruction Pointer prefetcher uses sequential load history to determine the cache lines to prefetch. | 0x01A4 | 3 | Enabled
| DCU NP | DCU Next Page is an L1 data cache prefetcher. | 0x01A4 | 4 | Enabled
| LLC Stream | Last level cache stream prefetcher. | 0x1320 | 43 | Disabled
ISA
Advanced Encryption Standard New Instructions (AES-NI) | Yes
Advanced Matrix Extensions (AMX) | No
AMX-COMPLEX Instruction | No
AMX-FP16 Instruction | No
AVX-IFMA Instruction | Yes
AVX-NE-CONVERT Instruction | Yes
AVX-VNNI-INT8 Instruction | Yes
AVX-512 Foundation | No
Vector Neural Network Instructions (AVX512_BF16) | No
Advanced Vector Extensions (AVX512_FP16) | No
Vector Neural Network Instructions (AVX512_VNNI) | No
Cache Line Demote (CLDEMOTE) | Yes
Compare and Add if Condition is Met (CMPCCXADD) | Yes
Enqueue Command Instruction (ENQCMD) | Yes
Move Doubleword as Direct Store (MOVDIRI) | Yes
Move 64 Bytes as Direct Store (MOVDIR64B) | Yes
PREFETCHIT0/1 Instruction | Yes
SERIALIZE Instruction | Yes
SHA1/SHA256 Instruction Extensions (SHA_NI) | Yes
Transactional Synchronization Extensions (TSXLDTRK) | No
Vector AES | Yes
UMONITOR, UMWAIT, TPAUSE Instructions | Yes
Accelerator
| Name | Count | Work Queues | Full Name | Description
| DLB | 4 | N/A | Intel Dynamic Load Balancer | hardware managed system of queues and arbiters connecting producers and consumers
| DSA | 4 | None | Intel Data Streaming Accelerator | a high-performance data copy and transformation accelerator
| IAA | 4 | None | Intel Analytics Accelerator | accelerates compression and decompression for big data applications and in-memory analytic databases
| QAT (on CPU) | 4 | N/A | Intel Quick Assist Technology | accelerates data encryption and compression for applications from networking to enterprise, cloud to storage, and content delivery to database
| QAT (on chipset) | 0 | N/A | Intel Quick Assist Technology | accelerates data encryption and compression for applications from networking to enterprise, cloud to storage, and content delivery to database
| vRAN Boost | 0 | N/A | Intel vRAN Boost | accelerates vRAN workloads
Power
TDP | 550W
Energy Performance Bias | Performance (0)
Energy Performance Preference | Normal (128)
Scaling Governor | powersave
Scaling Driver | intel_pstate
C-state
| Name | Status
| POLL | Enabled
| C1 | Enabled
| C1E | Enabled
| C6S | Enabled
| C6SP | Enabled
Maximum Frequency
| Cores | Cores per Die | SSE | AVX2
| 1-72 | 1-24 | 3.2 | 3.2
| 73-144 | 25-48 | 3 | 3
| 145-216 | 49-72 | 3 | 3
| 217-288 | 73-96 | 2.9 | 2.9
Speed Select Turbo Frequency - High Priority
No data found.
Speed Select Turbo Frequency - Low Priority
No data found.
Uncore
Min Frequency (Compute) | 0.8GHz
Min Frequency (I/O) | 0.8GHz
Max Frequency (Compute) | 2.2GHz
Max Frequency (I/O) | 2.4GHz
CHA Count | 72
Efficiency Latency Control
| Socket | Instance | Die | Type | Min Ratio (MHz) | Max Ratio (MHz) | ELC Ratio (MHz) | ELC Low Threshold (%) | ELC High Threshold (%) | ELC High Threshold Enable | Mode
| 0 | 0 | 4 | IO | 800 | 2400 | 0 | 0 | 0 | 1 | Latency Optimized Mode (LOM)
| 0 | 0 | 1 | Compute | 800 | 2200 | 0 | 0 | 0 | 1 | Latency Optimized Mode (LOM)
| 0 | 0 | 0 | Compute | 800 | 2200 | 0 | 0 | 0 | 1 | Latency Optimized Mode (LOM)
| 0 | 0 | 3 | IO | 800 | 2400 | 0 | 0 | 0 | 1 | Latency Optimized Mode (LOM)
| 0 | 0 | 2 | Compute | 800 | 2200 | 0 | 0 | 0 | 1 | Latency Optimized Mode (LOM)
Memory
Installed Memory | 576GB (12x48GB DDR5 8000MT/s [8000MT/s])
MemTotal | 594020796 kB
MemFree | 589726660 kB
MemAvailable | 588047052 kB
Buffers | 40940 kB
Cached | 633548 kB
HugePages_Total | 0
Hugepagesize | 2048 kB
Transparent Huge Pages | madvise
Automatic NUMA Balancing | Enabled
Populated Memory Channels | 12
Total Memory Encryption (TME) | Disabled
Clustering Mode | SNC 3
DIMM
| Bank Locator | Locator | Manufacturer | Part | Serial | Size | Type | Detail | Speed | Rank | Configured Speed | Socket | Channel | Slot
| BANK 0 | CPU0_DIMM_A | Samsung | MDRRXM8QEBC2-5G300 | 02B7E480 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 0 | 0
| BANK 1 | CPU0_DIMM_B | Samsung | MDRRXM8QEBC2-5G300 | 02B7E6F2 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 1 | 0
| BANK 2 | CPU0_DIMM_C | Samsung | MDRRXM8QEBC2-5G300 | 02B7E46A | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 2 | 0
| BANK 3 | CPU0_DIMM_D | Samsung | MDRRXM8QEBC2-5G300 | 02B7E4A2 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 3 | 0
| BANK 4 | CPU0_DIMM_E | Samsung | MDRRXM8QEBC2-5G300 | 02B7E4EF | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 4 | 0
| BANK 5 | CPU0_DIMM_F | Samsung | MDRRXM8QEBC2-5G300 | 02B7E5F0 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 5 | 0
| BANK 6 | CPU0_DIMM_G | Samsung | MDRRXM8QEBC2-5G300 | 02B7E7E4 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 6 | 0
| BANK 7 | CPU0_DIMM_H | Samsung | MDRRXM8QEBC2-5G300 | 02B7E420 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 7 | 0
| BANK 8 | CPU0_DIMM_I | Samsung | MDRRXM8QEBC2-5G300 | 02B7E485 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 8 | 0
| BANK 9 | CPU0_DIMM_J | Samsung | MDRRXM8QEBC2-5G300 | 02B7E778 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 9 | 0
| BANK 10 | CPU0_DIMM_K | Samsung | MDRRXM8QEBC2-5G300 | 02B7E471 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 10 | 0
| BANK 11 | CPU0_DIMM_L | Samsung | MDRRXM8QEBC2-5G300 | 02B7E524 | 48 GB | DDR5 | Synchronous Registered (Buffered) | 8000 MT/s | 2 | 8000 MT/s | 0 | 11 | 0
| BANK 12 | CPU1_DIMM_A |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 0 | 0
| BANK 13 | CPU1_DIMM_B |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 1 | 0
| BANK 14 | CPU1_DIMM_C |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 2 | 0
| BANK 15 | CPU1_DIMM_D |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 3 | 0
| BANK 16 | CPU1_DIMM_E |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 4 | 0
| BANK 17 | CPU1_DIMM_F |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 5 | 0
| BANK 18 | CPU1_DIMM_G |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 6 | 0
| BANK 19 | CPU1_DIMM_H |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 7 | 0
| BANK 20 | CPU1_DIMM_I |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 8 | 0
| BANK 21 | CPU1_DIMM_J |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 9 | 0
| BANK 22 | CPU1_DIMM_K |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 10 | 0
| BANK 23 | CPU1_DIMM_L |  |  |  | No Module Installed | Unknown | Unknown Synchronous |  |  |  | 1 | 11 | 0
Network Configuration
net.ipv4.tcp_rmem | 4096 131072 6291456
net.ipv4.tcp_wmem | 4096 16384 4194304
net.core.rmem_max | 212992
net.core.wmem_max | 212992
net.core.netdev_max_backlog | 1000
net.ipv4.tcp_max_syn_backlog | 4096
net.core.somaxconn | 4096
IRQ Balance | Disabled
NIC
| Name | Vendor (ID) | Model (ID) | MAC Address | Speed | Link | Bus | Card / Port | NUMA Node | Driver | Driver Version | Firmware Version | MTU | TX Queues | RX Queues | Adaptive RX | Adaptive TX | rx-usecs | tx-usecs
| eno1 | Intel Corporation (0x8086) | I210 Gigabit Network Connection (0x1533) | a4:bf:01:8c:f3:56 | 1000Mb/s | yes | 0000:16:00.0 | 1 / 1 | 0 | igb | 6.8.0-124-generic | 3.25, 0x800005cc | 1500 | 4 | 4 | off | off | 3 | 0
NIC CPU Affinity
| Interface | IRQ:CPU ¦ IRQ:CPU ¦ ...
| eno1 | 198:0-95 ¦ 199:0-95 ¦ 200:0-95 ¦ 201:0-95 ¦ 202:0-95
NIC Packet Steering
| Interface | Type | Queue:CPU(s) ¦ Queue¦CPU(s) ¦ ...
| eno1 | XPS
| eno1 | RPS
Disk
| Name | Model | Size | Mount Point | Type | Request Queue Size | Minimum I/O Size | Firmware Version | PCIe Address | NUMA Node | Link Speed | Link Width | Max Link Speed | Max Link Width
| nvme0n1 | SAMSUNG MZWLO1T9HCJR-00A07 | 1.7T |  |  |  | 4096 | OPPA4B5Q |  | 2 | 32.0 GT/s PCIe | 4 | 32.0 GT/s PCIe | 4
| nvme0n1p1 |  | 1G | /boot/efi | vfat |  | 4096
| nvme0n1p2 |  | 2G | /boot | ext4 |  | 4096
| nvme0n1p3 |  | 1.7T |  | LVM2_member |  | 4096
| ubuntu--vg-ubuntu--lv |  | 100G | / | ext4 |  | 4096
| nvme1n1 | Micron_7450_MTFDKBG1T9TFR | 1.7T |  |  | 1023 | 262144 | E2MU110 | 0000:15:00.0 | 0 | 16.0 GT/s PCIe | 2 | 16.0 GT/s PCIe | 4
| nvme1n1p1 |  | 600M |  | vfat | 1023 | 262144
| nvme1n1p2 |  | 1G |  | xfs | 1023 | 262144
| nvme1n1p3 |  | 1.7T |  | LVM2_member | 1023 | 262144
| cs_sh14l47001s0901-swap |  | 4G |  | swap |  | 262144
| cs_sh14l47001s0901-home |  | 1.7T |  | xfs |  | 262144
| cs_sh14l47001s0901-root |  | 70G |  | xfs |  | 262144
Filesystem
| Filesystem | Size | Used | Avail | Use% | Mounted on | Mount Options
| tmpfs | 57G | 3.3M | 57G | 1% | /run | rw,nosuid,nodev,noexec,relatime,size=59402080k,mode=755,inode64
| efivarfs | 696K | 382K | 310K | 56% | /sys/firmware/efi/efivars | rw,nosuid,nodev,noexec,relatime
| /dev/mapper/ubuntu--vg-ubuntu--lv | 98G | 12G | 82G | 13% | / | rw,relatime,stripe=32
| tmpfs | 284G | 0 | 284G | 0% | /dev/shm | rw,nosuid,nodev,inode64
| tmpfs | 5.0M | 0 | 5.0M | 0% | /run/lock | rw,nosuid,nodev,noexec,relatime,size=5120k,inode64
| /dev/nvme0n1p2 | 2.0G | 199M | 1.6G | 11% | /boot | rw,relatime,stripe=32
| /dev/nvme0n1p1 | 1.1G | 6.2M | 1.1G | 1% | /boot/efi | rw,relatime,fmask=0022,dmask=0022,codepage=437,iocharset=iso8859-1,shortname=mixed,errors=remount-ro
| tmpfs | 57G | 12K | 57G | 1% | /run/user/0 | rw,nosuid,nodev,relatime,size=59402076k,nr_inodes=14850519,mode=700,inode64
GPU
| Manufacturer | Model | PCI ID
| ASPEED | Unknown | 1A03:2000
Gaudi
No data found.
CXL
No data found.
PCIe
| Designation | Type | Length | Bus Address | Current Usage
| J2C1 - Riser 1 (X8_CPU0PE0), slot 1 | x8 EDSFF E1 | Unknown |  | Unavailable
| J2D1 - M.2 (X2_CPU0PE0), slot 2 | x2 PCI Express 5 x2 | Unknown | 0000:15:00.0 | In Use
| J2D1 - LOM (X2_CPU0PE0), slot 3 | x2 PCI Express 5 x2 | Unknown | 0000:16:00.0 | In Use
| J3D1 - DC-SCM (X2_CPU0PE0), slot 4 | x2 PCI Express 5 x2 | Unknown | 0000:18:00.0 | In Use
| J3D1 - DC-SCM (X2_CPU0PE0), slot 5 | x2 PCI Express 5 x2 | Unknown | 0000:19:00.0 | In Use
| J2A16 - SLOT_C (X16_CPU0PE1), slot 6 | x16 PCI Express 5 x16 | Unknown |  | Unavailable
| J2D4 - Riser 2 (X16_CPU0PE2), slot 7 | x16 EDSFF E1 | Unknown |  | Unavailable
| J2D3 - MCIO (X4_CPU0PE3), slot 8 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J2D5 - MCIO (X4_CPU0PE3), slot 9 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J1D5 - MCIO (X4_CPU0PE3), slot 10 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J1D9 - MCIO (X4_CPU0PE3), slot 11 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J3K3 - MCIO (X4_CPU0PE4), slot 12 | x4 PCI Express 5 x4 | Unknown | 0000:b0:00.0 | In Use
| J3K2 - MCIO (X4_CPU0PE4), slot 13 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J4K1 - MCIO (X4_CPU0PE4), slot 14 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J4K2 - MCIO (X4_CPU0PE4), slot 15 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J1K2 - MCIO (X4_CPU0PE5), slot 16 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J1K1 - MCIO (X4_CPU0PE5), slot 17 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J2K3 - MCIO (X4_CPU0PE5), slot 18 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
| J2K2 - MCIO (X4_CPU0PE5), slot 19 | x4 PCI Express 5 x4 | Unknown |  | Unavailable
CVE
CVE-2017-5715 | OK (Mitigation: Enhanced / Automatic IBRS; IBPB: conditional; PBRSB-eIBRS: Not affected; BHI: BHI_DIS_S)
CVE-2017-5753 | OK (Mitigation: usercopy/swapgs barriers and __user pointer sanitization)
CVE-2017-5754 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2018-12126 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2018-12127 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2018-12130 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2018-12207 | OK (this system is not running a hypervisor)
CVE-2018-3615 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2018-3620 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2018-3639 | OK (Mitigation: Speculative Store Bypass disabled via prctl)
CVE-2018-3640 | OK (your CPU microcode mitigates the vulnerability)
CVE-2018-3646 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2019-11091 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2019-11135 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2020-0543 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2022-21123 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2022-21125 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2022-21166 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2022-29900 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2022-29901 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2022-40982 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2023-20569 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2023-20588 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2023-20593 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2023-23583 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2023-28746 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2024-28956 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2024-36350 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2024-36357 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2024-45332 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2025-40300 | OK (your CPU vendor reported your CPU model as not affected)
CVE-2025-54505 | OK (your CPU vendor reported your CPU model as not affected)
Process
| PID | PPID | %CPU | %MEM | RSS | COMMAND
| 7472 | 6691 | 1.1 | 0 | 49332 | ./perfspect report
| 6692 | 6574 | 0.3 | 0 | 3680 | bash -c while true; do sleep 1;head -v -n 8 /proc/meminfo; head -v -n 2 /proc/stat /proc/version /proc/uptime /proc/loadavg /proc/sys/fs/file-nr /proc/sys/kernel/hostname; tail -v -n 32 /proc/net/dev;echo '==> /proc/df <==';df -l;echo '==> /proc/who <==';who;echo '==> /proc/end <==';echo '##Moba##'; done
| 6574 | 4652 | 0.2 | 0 | 11108 | sshd: root@pts/0
| 7620 | 7472 | 0.1 | 0 | 4412 | bash /tmp/perfspect.tmp.2773460458/controller.sh
| 6578 | 4652 | 0 | 0 | 10856 | sshd: root@notty
| 6691 | 6574 | 0 | 0 | 5780 | -bash
| 2936 | 1 | 0 | 0 | 27420 | /sbin/multipathd -d -s
| 1 | 0 | 0 | 0 | 13692 | /sbin/init
| 4236 | 1 | 0 | 0 | 50580 | /usr/libexec/fwupd/fwupd
| 3994 | 1 | 0 | 0 | 9772 | /usr/lib/polkit-1/polkitd --no-debug
| 4006 | 1 | 0 | 0 | 14264 | /usr/libexec/udisks2/udisksd
| 2969 | 1 | 0 | 0 | 10832 | /usr/lib/systemd/systemd-udevd
| 3918 | 1 | 0 | 0 | 9580 | /usr/lib/systemd/systemd-networkd
| 2892 | 1 | 0 | 0 | 14132 | /usr/lib/systemd/systemd-journald
| 3990 | 1 | 0 | 0 | 5568 | @dbus-daemon --system --address=systemd: --nofork --nopidfile --systemd-activation --syslog-only
| 3927 | 1 | 0 | 0 | 8000 | /usr/lib/systemd/systemd-timesyncd
| 3926 | 1 | 0 | 0 | 13136 | /usr/lib/systemd/systemd-resolved
| 4002 | 1 | 0 | 0 | 9140 | /usr/lib/systemd/systemd-logind
| 4130 | 1 | 0 | 0 | 6048 | /usr/sbin/rsyslogd -n -iNONE
Sensor
| Sensor | Reading | Status
| CPU1 North VR Ou | 1 Amps | ok
| CPU1 South VR Ou | 1 Amps | ok
| CPU1 VNN EHV Out | 0 Amps | ok
| DCSCM OCP 12V Ou | 0 Amps | ok
| HSBP 12V Out Cur | 0 Amps | ok
| PCIe 3V3 Out Cur | 0 Amps | ok
| PCIe 12V Out Cur | 0 Amps | ok
| PSU1 In Current | 1.25 Amps | ok
| PSU1 Out Current | 17 Amps | ok
| System Fans SE 1 | 0 Amps | ok
| System Fans SW 1 | 0 Amps | ok
| Cpu Energy CPU1 | 907.20 unspecif | ok
| Dimm Energy CPU1 | 470.40 unspecif | ok
| Platform Energy | 1075.20 unspeci | ok
| Pwm 1 2 | 44.69 unspecifi | ok
| Pwm 3 4 | 44.69 unspecifi | ok
| Pwm 5 6 | 44.69 unspecifi | ok
| Pwm 7 8 | 44.69 unspecifi | ok
| Pwm 9 10 | 44.69 unspecifi | ok
| Pwm 11 12 | 44.69 unspecifi | ok
| Pwm PSU1 Fan 1 | 39.98 unspecifi | ok
| Pwm PSU1 Fan 2 | 39.98 unspecifi | ok
| Fan 1 | 0 RPM | ok
| Fan 2 | 6860 RPM | ok
| Fan 3 | 5880 RPM | ok
| Fan 4 | 6762 RPM | ok
| Fan 5 | 0 RPM | ok
| Fan 6 | 0 RPM | ok
| Fan 7 | 0 RPM | ok
| Fan 8 | 0 RPM | ok
| Fan 9 | 0 RPM | ok
| Fan 10 | 6860 RPM | ok
| Fan 11 | 0 RPM | ok
| Fan 12 | 6958 RPM | ok
| PSU1 Fan Speed 1 | 8260 RPM | ok
| PSU1 Fan Speed 2 | 6962 RPM | ok
| CPU1 North VR In | 0 Watts | ok
| CPU1 South VR In | 0 Watts | ok
| CPU1 VNN EHV In | 0 Watts | ok
| Cpu Power Averag | 114 Watts | ok
| Cpu Power Cap CP | 0 Watts | ok
| DCSCM OCP 12V In | 0 Watts | ok
| Dimm Power Avera | 26 Watts | ok
| Dimm Power Cap C | 0 Watts | ok
| HSBP 12V Out Pow | 0 Watts | ok
| PCIe 3V3 In Powe | 0 Watts | ok
| PCIe 12V In Powe | 0 Watts | ok
| PSU1 Input Power | 271.40 Watts | ok
| PSU1 Out Power | 200.60 Watts | ok
| Platform Power A | 228 Watts | ok
| Platform Power C | 0 Watts | ok
| System Fans SE 1 | 0 Watts | ok
| System Fans SW 1 | 0 Watts | ok
| BMC Temp | 24 degrees C | ok
| DIMM A1 CPU1 | 20 degrees C | ok
| DIMM A2 CPU1 | 20 degrees C | ok
| DIMM B1 CPU1 | 20 degrees C | ok
| DIMM B2 CPU1 | 20 degrees C | ok
| DIMM C1 CPU1 | 20 degrees C | ok
| DIMM C2 CPU1 | 20 degrees C | ok
| DIMM D1 CPU1 | 20 degrees C | ok
| DIMM D2 CPU1 | 20 degrees C | ok
| DIMM E1 CPU1 | 20 degrees C | ok
| DIMM E2 CPU1 | 20 degrees C | ok
| DIMM F1 CPU1 | 20 degrees C | ok
| DIMM F2 CPU1 | 20 degrees C | ok
| DIMM G1 CPU1 | 21 degrees C | ok
| DIMM G2 CPU1 | 21 degrees C | ok
| DIMM H1 CPU1 | 21 degrees C | ok
| DIMM H2 CPU1 | 21 degrees C | ok
| DIMM I1 CPU1 | 21 degrees C | ok
| DIMM I2 CPU1 | 21 degrees C | ok
| DIMM J1 CPU1 | 21 degrees C | ok
| DIMM J2 CPU1 | 21 degrees C | ok
| DIMM K1 CPU1 | 21 degrees C | ok
| DIMM K2 CPU1 | 21 degrees C | ok
| DIMM L1 CPU1 | 20 degrees C | ok
| DIMM L2 CPU1 | 20 degrees C | ok
| DTS CPU1 | 44 degrees C | ok
| Die CPU1 | 45 degrees C | ok
| Inlet BRD Temp | 21 degrees C | ok
| Left DIMM Bank T | 22 degrees C | ok
| Left Mid Board T | 22 degrees C | ok
| Left Rear Board | 21 degrees C | ok
| NVMe M2 EDSFF Sl | 48 degrees C | ok
| NVMe Slot1 HSBP | 23 degrees C | ok
| PSU1 Temperature | 21 degrees C | ok
| Right DIMM Bank | 20 degrees C | ok
| Right Mid Board | 21 degrees C | ok
| Right Rear Board | 21 degrees C | ok
| Slot1 HSBP1 Temp | 19 degrees C | ok
| AverageCupsIndex | no reading | ns
| AverageHostCpuUt | no reading | ns
| AverageHostMemor | no reading | ns
| AverageHostPciBa | no reading | ns
| CupsIndex | no reading | ns
| HostCpuUtilizati | no reading | ns
| HostMemoryBandwi | no reading | ns
| HostPciBandwidth | no reading | ns
| CPU1 North VR In | 1.18 Volts | ok
| CPU1 South VR In | 1.18 Volts | ok
| CPU1 VNN EHV In | 1.18 Volts | ok
| DCSCM OCP 12V In | 1.18 Volts | ok
| HSBP 12V Out Vol | 12 Volts | ok
| P3V BAT CPU0 | 2.82 Volts | ok
| P12V NORTH | 12.03 Volts | ok
| PCIe 3V3 In Volt | 1.18 Volts | ok
| PCIe 12V In Volt | 1.18 Volts | ok
| PSU1 In Voltage | 227.74 Volts | ok
| PVCCD0 HV CPU0 | 1.13 Volts | ok
| PVCCD1 HV CPU0 | 1.13 Volts | ok
| PVCCFA EHV CPU0 | 1.80 Volts | ok
| PVCCFA EHV FIVRA | 1.80 Volts | ok
| PVCCINF CPU0 | 0.77 Volts | ok
| PVCCIN CPU0 | 1.85 Volts | ok
| PVNN MAIN CPU0 | 1.01 Volts | ok
| System Fans SE 1 | 12 Volts | ok
| System Fans SW 1 | 12 Volts | ok
Chassis Status
System Power | on
Power Overload | false
Power Interlock | inactive
Main Power Fault | false
Power Control Fault | false
Power Restore Policy | always-off
Last Power Event
Chassis Intrusion | active
Front-Panel Lockout | inactive
Drive Fault | false
Cooling/Fan Fault | false
PMU
PMU Driver Version | 6
cpu_cycles | Active
instructions | Inactive
ref_cycles | Inactive
topdown_slots | Unknown
gen_programmable_1 | Inactive
gen_programmable_2 | Inactive
gen_programmable_3 | Inactive
gen_programmable_4 | Inactive
gen_programmable_5 | Inactive
gen_programmable_6 | Inactive
gen_programmable_7 | Inactive
gen_programmable_8 | Inactive
System Event Log
| Date | Time | Sensor | Status | Event
| 06/12/26 | 10:30:32 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Asserted
| 06/12/26 | 10:30:33 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Deasserted
| 06/12/26 | 10:30:34 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Asserted
| 06/12/26 | 10:30:34 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Asserted
| 06/12/26 | 10:30:36 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Deasserted
| 06/12/26 | 10:30:36 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Deasserted
| 06/12/26 | 10:30:38 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Asserted
| 06/12/26 | 10:30:38 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Asserted
| 06/12/26 | 10:31:11 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Deasserted
| 06/12/26 | 10:31:16 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Asserted
| 06/12/26 | 10:31:17 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Deasserted
| 06/12/26 | 10:31:17 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Deasserted
| 06/12/26 | 10:31:18 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Asserted
| 06/12/26 | 10:31:18 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Deasserted
| 06/12/26 | 10:31:45 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Asserted
| 06/12/26 | 10:31:45 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Deasserted
| 06/23/26 | 15:52:20 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Asserted
| 06/23/26 | 15:52:20 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Asserted
| 06/23/26 | 15:52:21 CST | Voltage P3V BAT CPU0 | Lower Non-critical going low | Deasserted
| 06/23/26 | 15:52:21 CST | Voltage P3V BAT CPU0 | Lower Critical going low | Deasserted
Kernel Log
Entries
[ +0.000015] usb 1-4.6: New USB device strings: Mfr=1, Product=2, SerialNumber=3
[ +0.000006] usb 1-4.6: Product: virtual_input
[ +0.000004] usb 1-4.6: Manufacturer: OpenBMC
[ +0.000004] usb 1-4.6: SerialNumber: OBMC0001
[ +0.015742] input: OpenBMC virtual_input as /devices/pci0000:14/0000:14:09.0/0000:19:00.0/usb1/1-4/1-4.6/1-4.6:1.0/0003:1D6B:0104.0003/input/input4
[ +0.083214] hid-generic 0003:1D6B:0104.0003: input,hidraw2: USB HID v1.01 Keyboard [OpenBMC virtual_input] on usb-0000:19:00.0-4.6/input0
[ +0.002518] input: OpenBMC virtual_input as /devices/pci0000:14/0000:14:09.0/0000:19:00.0/usb1/1-4/1-4.6/1-4.6:1.1/0003:1D6B:0104.0004/input/input5
[ +0.000789] hid-generic 0003:1D6B:0104.0004: input,hidraw3: USB HID v1.01 Mouse [OpenBMC virtual_input] on usb-0000:19:00.0-4.6/input1
[Jun23 18:24] usb 1-4.6: USB disconnect, device number 5
[Jun24 02:42] kauditd_printk_skb: 112 callbacks suppressed
[ +0.000008] audit: type=1400 audit(1782240161.471:124): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/__init__.cpython-312.pyc.137312771176496" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.005293] audit: type=1400 audit(1782240161.477:125): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/apt.cpython-312.pyc.137312771350000" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.035908] audit: type=1400 audit(1782240161.513:126): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/event_logger.cpython-312.pyc.137312769529776" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.001708] audit: type=1400 audit(1782240161.514:127): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/yaml.cpython-312.pyc.137312759384240" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.002124] audit: type=1400 audit(1782240161.516:128): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/util.cpython-312.pyc.137312759384240" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.000646] audit: type=1400 audit(1782240161.517:129): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_esm_cache" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/__init__.cpython-312.pyc.136653542117040" pid=5461 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.001839] audit: type=1400 audit(1782240161.519:130): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/exceptions.cpython-312.pyc.137312759384240" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.000444] audit: type=1400 audit(1782240161.519:131): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_esm_cache" name="/usr/lib/python3/dist-packages/uaclient/__pycache__/log.cpython-312.pyc.136653546846592" pid=5461 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.005429] audit: type=1400 audit(1782240161.525:132): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/messages/__pycache__/__init__.cpython-312.pyc.137312759386032" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
[ +0.001025] audit: type=1400 audit(1782240161.526:133): apparmor="DENIED" operation="mknod" class="file" profile="ubuntu_pro_apt_news" name="/usr/lib/python3/dist-packages/uaclient/messages/__pycache__/urls.cpython-312.pyc.137312759397040" pid=5459 comm="python3" requested_mask="c" denied_mask="c" fsuid=0 ouid=0
Insights
| Recommendation | Justification
| Consider configuring DSA to allow accelerated data copy and transformation in DSA-enabled software. | No work queues are configured for DSA accelerator(s).
| Consider configuring IAA to allow accelerated compression and decompression in IAA-enabled software. | No work queues are configured for IAA accelerator(s).
| Consider setting Scaling Governor to 'performance'. | Scaling Governor is set to 'powersave'
| Consider setting Energy Performance Preference to 'Performance (0)'. | Energy Performance Preference is set to 'Normal (128)'
| Consider setting Efficiency Latency Control mode to 'Optimized Power Mode (OPM)' to balance uncore performance and power utilization. | ELC mode is set to 'Latency Optimized Mode (LOM)' on at least one die.
| Consider setting Energy Performance Preference to 'Performance (0)' to allow Latency Optimized Mode (LOM) to operate as designed. | Energy Performance Preference is set to 'Normal (128)' and ELC Mode is set to 'Latency Optimized Mode (LOM)'.
PerfSpect
Version | 3.17.1_2026-05-26_19742ce0
Args | ./perfspect report
OutputDir | /home/bjiang7/perfspect/perfspect_2026-06-24_09-59-47
Note on A35: The minimum guaranteed speed of a single core under standard conditions.
Note on A36: The highest speed a single core can reach with Turbo Boost.
Note on A37: The highest speed all cores can reach simultaneously with Turbo Boost.
Note on A45: The size of the L1 data cache for one core.
Note on A46: The size of the L1 instruction cache for one core.
Note on A47: The size of the L2 cache for one core.
Note on A48: The size of one L3 cache instance and the total L3 cache size for the system.
Note on A49: The L3 cache size per core.
Note on N193: Maximum Transmission Unit. The largest size packet or frame, specified in octets (eight-bit bytes), that can be sent in a packet- or frame-based network such as the Internet.
Note on Q193: Enables dynamic adjustment of receive interrupt coalescing based on traffic patterns.
Note on R193: Enables dynamic adjustment of transmit interrupt coalescing based on traffic patterns.
Note on S193: Sets the delay, in microseconds, before an interrupt is generated after receiving a packet. Higher values reduce CPU usage (by batching packets), but increase latency. Lower values reduce latency, but increase interrupt rate and CPU load.
Note on T193: Sets the delay, in microseconds, before an interrupt is generated after transmitting a packet. Higher values reduce CPU usage (by batching packets), but increase latency. Lower values reduce latency, but increase interrupt rate and CPU load.
Note on C201: XPS (Transmit Packet Steering) and RPS (Receive Packet Steering) are software-based mechanisms that allow the selection of a specific logical CPU core to handle the transmission or processing of network packets for a given queue.

## Brief
System Summary
Host Name | user
Time | Wed Jun 24 09:59:49 AM CST 2026
System | Intel Corporation AvenueCity, ....................
Baseboard | Intel Corporation AvenueCity, 0.02
Chassis | Intel Corporation Rack Mount Chassis, ............
CPU Model | Intel(R) Xeon? 6992E+C
Architecture | x86_64
Microarchitecture | CWF
L3 Cache (instance/total) | 576M/576M
Cores per Socket | 288
Sockets | 1
Hyperthreading | N/A
CPUs | 288
Intel Turbo Boost | Enabled
Base Frequency | 2.5GHz
Maximum Frequency | 3.2GHz
All-core Maximum Frequency | 2.9GHz
NUMA Nodes | 3
Prefetchers | L2 HW: Enabled, L2 Adj: Enabled, DCU HW: Disabled, DCU IP: Enabled, DCU NP: Enabled, LLC Stream: Disabled
PPINs | 57424d4ded34e641
Accelerators Available [used] | DLB 4 [0], DSA 4 [0], IAA 4 [0], QAT 4 [0], vRAN Boost 0 [0]
Installed Memory | 576GB (12x48GB DDR5 8000MT/s [8000MT/s])
Hugepagesize | 2048 kB
Transparent Huge Pages | madvise
Automatic NUMA Balancing | Enabled
NIC | 1x I210 Gigabit Network Connection
Disk | 1x 1.7T SAMSUNG MZWLO1T9HCJR-00A07, 1x 1.7T Micron_7450_MTFDKBG1T9TFR
BIOS | BHSDCRB1.IPC.3545.P40.2603102207
Microcode | 0x11000110
OS | Ubuntu 24.04.3 LTS
Kernel | 6.8.0-124-generic
TDP | 550W
Energy Performance Bias | Performance (0)
Energy Performance Preference | Normal (128)
Scaling Governor | powersave
Scaling Driver | intel_pstate
C-states | POLL: Enabled, C1: Enabled, C1E: Enabled, C6S: Enabled, C6SP: Enabled
Efficiency Latency Control | Latency Optimized Mode (LOM)
CVEs | 32 OK, 0 Vulnerable
System Summary | 1-node, Intel Corporation AvenueCity, 1x Intel(R) Xeon? 6992E+C, 288 cores, 550W TDP, HT N/A, Turbo On, Total Memory 576GB (12x48GB DDR5 8000MT/s [8000MT/s]), BIOS BHSDCRB1.IPC.3545.P40.2603102207, microcode 0x11000110, 1x I210 Gigabit Network Connection, 1x 1.7T SAMSUNG MZWLO1T9HCJR-00A07, 1x 1.7T Micron_7450_MTFDKBG1T9TFR, Ubuntu 24.04.3 LTS, 6.8.0-124-generic. Test by Intel as of June 24 2026.
Note on A10: The size of one L3 cache instance and the total L3 cache size for the system.
Note on A16: The minimum guaranteed speed of a single core under standard conditions.
Note on A17: The highest speed a single core can reach with Turbo Boost.
Note on A18: The highest speed all cores can reach simultaneously with Turbo Boost.